## Slide 1
EU-AFD TECHNICAL ASSISTANCE PROGRAMME TO SUPPORT
REFORMS IN THE WATER AND WASTEWATER SECTORS
IN LEBANON
Water Sector Key Data and Performance Indicators
January 20, 2023

## Slide 2
Master planning for water and wastewater
01
KPIs & performance framework
03
Metering and monitoring of water production and distribution
02
Outline
Strategic Planning, managing, and monitoring Tool
04

## Slide 3
Master Planning

## Slide 4
Water Master Planning
Present status
NLWE Partially covered
BMLWE fully covered except
- Chouf/Aley area, which is currently under study
- Areas intended to be supplied from dams that now are suspended or on hold
SLWE Fully covered
BWE Partially covered
Key issues
Prepare Master Plans for areas not addressed yet.
Bisri dam is intended to feed South Beirut and there is no other viable option.
Boqaata dam is intended to feed a large part of Matn by gravity, avoiding pumping from Jeita at a cost exceeding 3MUSD/year

## Slide 9
Wastewater Master Planning
O&M Requirements for 11 priority WWTPs
Assessment of O&M requirements in case of emergency total or partial shut-down
Cost per treatment stage; Possible partial shut-down scenarios; Cost of partial shut down; Impact on environment
Present situation
Actual measures are presently being implemented for the handing over of all the WWTPs to the WEs
A program is currently considered , funded by the EU and implemented by UNICEF, for the rehabilitation and then operation of a number of WWTPs
A TA programmme is currently being implemented by GIZ
Present involvement of the LTTA in the sector
Setting out an inventory of the sector's existing master plans, covering collection networks and treatment plants; and highlighting gaps and actions to address them.

## Slide 15
Metering and monitoring of water production and distribution

## Slide 16
Water production
Volumes Produced are, at best, to be considered as operators best estimate since the WEs have no reliable flow measurement devices at their production sources; and in case there is, they are not monitored properly
Metering & monitoring of water production & distribution
Water distribution
Except for limited areas, the actual water consumption at consumers’ level cannot be known due to the absence of metering practices and the lack of data
The volumes billed are based on subscribed volumes and not on actual metered consumption
Quality of Data

## Slide 17
Metering of water points
Metering & monitoring of water production & distribution
Priority 1 is for main production points or central facilities, producing large volumes of water and therefore serving a significant number of population and potentially providing consistent revenues to the WE

## Slide 18
Major production sites
Metering & monitoring of water production & distribution

## Slide 19
Metering & monitoring of water production & distribution
Due to the lack of metering at consumers’ level, down-top assessment of NRW cannot be performed.
Top-down assessment is made by comparing volumes produced to volumes billed
Therefore a key data is the measurement of produced water at the source
Metering as key factor for NRW management

## Slide 20
Key Performance Indicators

## Slide 21
Challenges are evolving rapidly unleashing inefficiencies across the sector
Key Performance Indicators (KPIs) provide a starting point for improving the performance in the water and wastewater sector and can lead to greater efficiency and delivery of better services.
KPIs are used to measure the progress toward achieving the strategic goals and constitute the building block of performance benchmarking.
54%
Utility A
85%
Utility B
35%
Utility C
Key Performance Indicators

## Slide 22
Performance Monitoring
Baseline for business planning
Measurement of performance
Water Establishments
Assessment for Tariff setting
Comparative analysis of WEs
Ministry of Energy & Water
Baseline for strategic planning
Evaluation of the water sector
National Water Authority
Evaluation of initiatives
Performance-linked funding
International Donors
Setting targets for agreements
Performance-based contracting
Service Providers
Comparative analysis and research
Studies and TOR for projects
.
Researchers & Consultants
KPI Users

## Slide 23
Objective-Based Performance Roadmap
Five steps roadmap where each step provides the information needed to move on to the next step and allows for setting new objectives successively higher at the finish of the performance cycle.
Objectives
Define objective as
“Sustainability and Financial viability of WEs”
Problems
Check the problems of existing KPIs; Propose starter set of KPIs based on international practice
Diagnosis
Diagnose problems to root causes; Analyze each KPI according to a nine-box matrix
Doing
Implement the plan in order to progressively increase the number of KPIs
Design
Design a plan; Prioritize actions based on their level of impact, cost & difficulty
Roadmap Performance Framework

## Slide 24
Framework Decision Tools
The matrix is custom developed to analyze the application risks of the international KPIs based on two variables: importance to measure and the confidence (reliability & accuracy) of the measurements. By combining these two variables, the matrix is crafted consisting of 9 different boxes with 9 different scenarios and 3 corresponding decision actions to choose from:
Select: The KPI has a precise calculation and high importance
Consider: The KPI can be used with caution (improvement required)
Disregard: The KPI has relatively low value to the set objective
50+
W & WW international KPIs
KPIs Assessed
KPI assessment tool
Nine-box matrix

## Slide 25
The gird is used in the framework to assess and prioritize specific actions in the planning process based on two variables: cost, level of implementation difficulty and impact of each action.
20
Framework improvement actions
Actions Assessed
Action assessment tool
Prioritization grid
Actions identified as low-cost, high-impact, and relatively easy to implement in the short-term.
Top left quadrant
Actions identified as high-impact, high-cost and relatively difficult to be implemented in the medium-term plan.
Top right quadrant
Framework Decision Tools

## Slide 26
Build Momentum
Start
the Reform
Sustain
the reform
Tough times weed out bad practices and make the utility stronger.
The AFD Technical Assistance Programme have initiated the transformation process towards the adoption of KPIs. The choice of goals will determine the direction and the path to reform , MoEW and WEs should reach a consensus on the priorities and objectives and make rapid decisions to maintain the dynamism
The Reform Pathway
Initiate
transformation
Maintain
dynamism for KPIs

## Slide 27
Presented by Dr. Wassim Daher
Strategic Planning, Managing, and Monitoring Tool

## Slide 28
The water establishments require:
  multi-front development and on multi-levels
  an instrument to evaluate the present position
  a method that allows for benchmarking and comparison
  a tool for an integrated operation depiction and simulation
  a strategy guide and strategy simulation
  an investment program simulator and tracker
  a strong management tool to manage and monitor the complete process and development operations
Objective / Aim

## Slide 29
A multi-dimension tool for strategic planning, managing,
and monitoring operations in a holistic approach that:
The Solution
Allows for strategic and tactical simulations
Links operational and international industry KPI’s
  Monitors operations on a micro and macro scale
Exposes multilevel strengths and weaknesses
Tool